| PROPERTY SECTION |  | Resident Comments |
| --- | --- | --- |
| MASTER BATH(upstairs) |  |  |
| Doors & door stops |  | Good condition |
| Walls |  | Good condition |
| Ceiling |  | Good condition |
| Double Sink – Cabinet – Medicine cabinet inside and out condition Check for cracks |  | Good condition Medicine cabinet-clean rust from usage-recommend painting in near future |
| Check light fixtures – to be in good working order including bulbs to be operational – no cracks or damage Fan should beclean |  | Good condition |
| Shower |  | Shower smoky on glass – clean further |
| Soaker Tub |  | Good condition |
| Floor |  | Good condition |
| Toilet |  | Old seat-may need to replace |
| Windows/screens |  | Replaced by previous resident who broke glass & blinds Good condition |
| Mini blinds-working & wands |  | Check for broken blind left at double window Check for broken wand over tub |
| Door stop/registers |  | Good condition |
| closet |  | Good condition |
| Paint In closet/racks nailed check |  | Good condition |
| BEDROOM #1 (Master) |  |  |
| Doors & door stops |  | Doors look like wrong paint flat not semi-gloss paint looks bad |
| Walls |  | Some flat paint used spotty- back wall bad-needs paint not painted advised by painter bed wall/body oil from pillows or making this need to be sealed before painting |
| Ceiling |  | Good condition |
| Floors |  | Carpet older-replace soon |
| Windows/screens |  | Good condition |
| Mini blinds-working & wands |  | Replace 3 blinds – tangled – bent- wands missing |
| Doors and Door Stops |  | Touch up= wrong paint |
| Other |  |  |
| Hall Closet |  |  |
| Hall doors and inside condition |  | Good condition |
| Doors & door stops |  | Acceptable condition |
| BEDROOM #2 (center rear) |  |  |
| Carpet |  | Medium- worn recommend replacing in next 1-3 |
| Walls |  | Touch up paint does not match |
| Ceiling |  | Good condition |
| Door Stop |  | Ok |
| Windows/screens |  | Good condition |
| Mini blinds-working & wands |  | Wand missing |
| Closet |  | Good condition |
| Paint on walls & condition |  | Touch up-wrong paint looks spotty |
| Doors & door stops |  | Door needs re-painted wrong paint Door stop ok |
| Ceiling Fan & lights |  | Good condition |
| Closet light |  | ok |
| BEDROOM #3 (corner rear) |  |  |
| Carpet |  | Ok |
| Walls |  | Ok |
| Ceiling |  | Leaking in corner near closet…not reported by anyone Verify this was before the roof was replaced-check |
| Windows/screens |  | ok |
| Mini blinds-working & wands |  | Good condition – wand missing replace wand |
| Paint on walls & condition |  | ok |
| Paint on entry doors & condition |  |  |
| Closet Doors & door stops |  | Closet door ok-door |
| BEDROOM #4 (corner front) |  |  |
| Carpet |  | Normal wear |
| Walls |  | Spotty looks like wrong paint touch-up |
| Ceiling |  | ok |
| Carpet |  | ok |
| Windows/screens |  | ok |
| Mini blinds-working & wands |  | ok |
| Closet Door |  | Off track- replace mechanism and re-hang door |
| Paint on walls & condition |  | Needs attention |
| Paint on doors & condition |  | Rough-dirty on edges-not painted or cleaned on edges of almost all doors upstairs |
| Doors & door stops |  |  |
| HALL BATH (upstairs) |  |  |
| Check light fixtures – to be in good working order including bulbs to be operational – no cracks or damage |  | Ok |
| Door |  | ok |
| Walls |  | ok |
| Ceiling |  | good |
| Sink |  | ok |
| Vanity condition |  | Previous-water damage from possible overflow. Cabinet is dry on side damage will not affect performance of cabinet |
| Shower / Tub |  | clean |
| Toilet & TP holder |  | ok |
| Paint on doors & condition |  | ok |
| Hallway stairwell to first floor |  |  |
| Carpet condition |  | Poor-worn from use-recommend replacing |
| Wall condition |  | Looks like fresh paint on bannister side- no paint on landing side |
| Hall light |  | ok |
| Bannister |  | ok |
| Hall closet first floor |  | ok |
| Door condition – interior condition |  | ok |
| KITCHEN |  |  |
| Pantry door |  | ok |
| Walls/Ceiling |  | ok |
| Floor |  | Ok – lots of marks from use over time recommend keeping an eye for curling at seams. Clean-very functionable |
| Stove – make sure stove is clean and in good operating condition Check racks Check glass in door Seals – broiler pan |  | Ok Note one chip Previous resident |
| Check light fixtures – to be in good working order including bulbs to be operational – no cracks or damage To be free of bugs |  | ok |
| Refrigerator – kitchen White older model refrigerator |  | Refrigerator removed by resident |
| Sink- check faucet & sink Under cabinet for any unreported leaking |  | ok |
| Kitchen Cabinets in and out Check for broken drawers & handles |  | ok |
| Countertops check for chips Scratches –burns - damage |  | medium |
| Garbage disposal should be working |  | ok |
| Oven exterior |  | Ok- previous chip |
| Oven Interior |  | ok |
| Light overhead island- check condition Must be clean and free of debris Turn on lights |  | Oven hood falling down- not reported Secure-re-screw Exhaust vent – filter very dirty-replace |
| Windows / Slider- door check glass condition |  | Dirt in track Screen not working correctly Screen has a square cut out of center (????) |
| Check slider screen condition Check for locking mechanism |  | Slider rough-needs cleaning |
| Breakfast light fixture |  | good |
| Check slider window coverings should be in good working order |  | Wand missing for sliding window cover over back door Header missing totally |
| Check duct for ac/heat |  | All were repainted in 2009- ok |
| Kitchen window-Mini blinds-working & wands |  | ok |
| POWDER ROOM (1st Floor) |  |  |
| Doors & door stops front/back |  | ok |
| Walls/Ceiling |  | ok |
| Floor |  | clean |
| Toilet & TP holder |  | missing |
| Sink & mirror |  | ok |
| Overhead storage |  | Magnets missing from both doors on storage unit |
| Check light fixtures – to be in good working order including bulbs to be operational – no cracks or damage |  | ok |
| Door stop & |  |  |
| FOYER / HALL & first level |  |  |
| Doors Door stops |  | Door stop-end missing |
| Walls |  | One wall ok one paint does not match Touch up paint |
| Ceiling |  | good |
| Vinyl floor |  | ok |
| Light fixtures all bulbs to be working In all rooms |  | ok |
| Entry Door |  | ok |
| DINING / LIVING ROOMS |  |  |
| Doors & door stops Entry door check- was freshly painted July 2009 |  | ok |
| Walls-Living & Dining Combo |  | ok |
| Cold air return-should be clear of dirt and debris |  | Ok |
| Ceiling |  | Ok |
| Windows |  | Wands missing Mini blinds bent Note: window sills very rough need to be sanded and repainted From prior to 2009 resident |
| Mini blinds-working & wands |  | 1 wand missing Fix mini blinds |
| Drapes |  | none |
| Carpet |  | Carpet replaced in August 2011 in living-dining Resident prior to 2009-damaged this area |
| Light fixtures all bulbs to be working In all rooms |  | ok |
| No holes are to be present from drapes or other items that were hung |  | ok |
| BASEMENT |  |  |
| Walls - insulation |  | ok |
| Walls going down stairs- check paint and bannister |  | Very messy appear never to have been painted Was freshly painted in 2009 |
| Sump pump |  | Was found unplugged-could cause flooding! |
| Concrete flooring |  | ok |
| Washer & Dryer |  | Resident left under stairwell |
| Windows |  | Cob-webs |
| Laundry Tub – to be clean and free of debris |  |  |
| Furnace – filter to be intact, good working order and clean or replaced Chart on furnace-check for accuracy |  | ok |
| Under steps |  | appliances |
| To be free of debris No Cobwebs windows must be clean |  |  |
| Check for any LINT debris |  |  |
| Check windows/clean floor |  |  |
| Check to make sure furnace filters have been replaced |  | Ok- |
| GARAGE |  |  |
| Floor – clean floor and to be free of grease and debris |  | ok |
| Garage Walls-interior |  | Note holes- bad patch needs to be re-done |
| Garage Door – dents or issues |  | ok |
| garage door- 2 openers – to be in good working order undamaged |  | ok |
| other |  |  |
| EXTERIOR |  |  |
| sidewalks – patio concrete - NO ice melt or similar products are to be used - concrete is not sealed these products will cause damage use sand only |  | ok |
| Patio |  | ok |
| Back stairway |  | Check yearly for safety |
| exterior lights-front & back all to have working light bulbs |  | ok |
| Landscape- Clean and free of debris Weeds removed – landscape |  |  |
| Front Lamp Post` |  | Very dirty-needs to be cleaned |
| Grass to be freshly cut at the end of the lease |  | ok |
| Front Mailbox |  | Verify-check may need painting |
| Yard free of any pet deposits |  | ok |
| screens – are free of debris & clean no holes or damage of any kind |  | Front screen in window replaced by resident – needs to be re-tooled to secure screen as it will come back out and looks bads |
| Front or back yard – gardens to be re-seeded or brought back into good order |  | Manager-needs to remove back yard debris |
| Hoses or sprinklers at property |  | None found |
| OTHER ITEMS |  |  |
| Lights |  | Exterior-ok- recommend – replacing exterior lights with plastic non corrosive lights in 1 to 4 years or less |
| Locks - Exterior Doors & Garage |  |  |
| Number of Keys- |  | 2 |
| Porch/Stairs |  | Check front porch for erosion under porch by weather Back fill-recommend immediate action |
| Hot Water Heater |  | ok |
| Furnace – repaired in June 2011 Ac unit replaced |  | Normal repair/maintained performed by contractor |
| Furnace filter should have been replaced |  | ok |
| Batteries smoke detectors |  | Smoke detector was disconnected. Repair and put back in good working order |
| All holes are to be patched and painted. If paint does not match that wall needs to be painted to look right. If proper paint is not used a professional contractor will be hired and deducted from deposit. |  |  |
| Resident is expected to bring all walls into good condition – same as was received upon occupancy- paint the the entire wall(not the entire room) to make it look right no spotted painting that does not match |  |  |
| Additional |  |  |
| If any paint used is not correct will be repainted at residents expense |  |  |

Comments:

This property was total painted in 2009, including doors and all duct work was painted and cleaned. Extensive cleaning and repairs of items from previous resident who damaged basement insulation. Windows in master bathroom were replaced at that time caused by previous resident prior to 2009

Comments:

All carpet except the living and dining room were in decent condition. Resident stated children were hard on carpet it was agreed not to replace carpet. All carpet were professionally cleaned before occupancy

Comments:

All light bulbs, batteries in smoke detectors were checked and replaced before occupancy. Wands for mini blinds that were missing were purchased to make sure all blinds were in good working order. Several blinds were replaced by former resident and some by property manager/landlord or owner.

Comments:

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

Comments:

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________

_______________________________________________________________________________________________________